## Slide 1
Anurag K. Srivastava, Sanjeev Pannala and Subir Majumder
West Virginia University
Email: anurag.srivastava@mail.wvu.edu
Panel Session presentations for the 2022 IEEE Power & Energy Society General Meeting
Thursday, July 21, 2022
Real-Time Resiliency Monitoring and Decision Support (RT-RMOD)

## Slide 2
Adverse Weather Events and Grid Resiliency
Motivation
Number of increasing weather and cyber events
Challenges
Data need and integration with existing legacy tool
Develop tool for resiliency monitoring and control
Ability to estimate impact of weather events
Deployment challenges
Proper assessment of system condition
Number of natural disasters in the United States from 1900 to 2016

## Slide 3
Tools for Situational Awareness and Decision Support for Power grid Resiliency
RPIA: Resiliency Planning and Investment Analysis
RT-RMOD: Real-Time Resiliency Monitoring and Operational Decision

## Slide 4
https://resilientpowergrid.ai/rt-rmod/index.htm.
RT-RMOD

## Slide 5
https://resilientpowergrid.ai/rt-rmod/index.htm.
RT-RMOD

## Slide 6: Defining Resilience
Multiple definitions exist.
Focus on critical loads for distribution grids.
"Resilience – Ability of the system to supply its critical loads, even in the presence of multiple contingencies".
IEEE PES PSDP definition and metric for resilience WG, PES T&D Distribution System Resiliency, PSOPE tools for resilience, AMPS Resilience Metrics and Evaluation Methods and CIGRE WG 4.47 and 2.25
FERC: The ability to withstand and reduce the magnitude and/or duration of disruptive events, which include the capacity to anticipate, absorb/withstand, adapt to, and/or rapidly recover from such an event.
G. Kandaperumal, A.K. Srivastava, “Resilience of the Electric Distribution Systems: Concepts, Classification, Assessment, Challenges, and Research Needs”, IET Cyber-Physical Systems:
Theory & Applications, 2019

## Slide 7
A.W.R.
Before Event
Inspired by CDC Public Health Emergency Preparedness and Response and Weighted Sum Model (WSM).
Anticipate
How well is the system prepared for the predicted impact of an incoming event?
Withstand
How well can system continue to supply critical loads during event?
Recover
How quickly can system recover from event and continue supply to critical loads? And at what cost?
Measuring Resilience

## Slide 8
A.W.R.
During Event
Using system characteristics-based factors, graph theory, and Multi-Criteria Decision Making (MCDM): Analytical Hierarchal Process (AHP).
Anticipate
How well is the system prepared for the predicted impact of an incoming event?
Withstand
How well can system continue to supply critical loads during event?
Recover
How quickly can system recover from event and continue supply to critical loads? And at what cost?
Measuring Resilience

## Slide 9
A.W.R.
After Event
Using system characteristics-based factors, graph theory, and Multi-Criteria Decision Making (MCDM): Analytical Hierarchal Process (AHP).
Anticipate
How well is the system prepared for the predicted impact of an incoming event?
Withstand
How well can system continue to supply critical loads during event?
Recover
How quickly can system recover from event and continue supply to critical loads? And at what cost?
Measuring Resilience

## Slide 10
Multi-temporal Multidimensional Resilience Measure

## Slide 11
RT-RMOD

## Slide 12
RT-RMOD

## Slide 13
Test case-1
Revised 14-nodes test case
Assume DG-2 outage at hour-9 because of an event-strike, and event alert is received at hour-4.
In eco-mode, BESS has reached the minimum SOC limit when event-strike happened.

## Slide 14
55-node islanded microgrid
Test case-2
Resilience-mode guarantee better resilience than economic-mode

## Slide 15
RT-RMOD Case Scenario: Two Stage Proactive Control
Outage of energized lines and energized generators due to expected events will cause more impact compared to unenergized lines and generators
Not all available switches available at the disposal of the operator are remotely operable
When the forecast is certain, and disaster cannot be avoided, switching operations are important for resiliency improvement
Two stage includes manually operated switch followed by automatic switches

## Slide 16
Two-Stage Proactive Control: Results
Scenario 1: Disaster strikes upon the network without prior preparation
Scenario 2: Network is proactively reconfigured, but, to be outaged part removed apriori
Scenario 3: Outaged part is operated through remote switches, only minutes before

## Slide 17
DINGO: Digital assIstaNt for Grid Operators (NLP based)
17

## Slide 18
Summary
During extreme weather events, situational awareness and decision support is important for grid operator and tools is required
Resiliency Metric is needed for comparing alternative control actions
Proactive control and corrective control are needed for operators or as autonomous control
RT-RMOD provides resiliency monitoring and decision support

## Slide 19
Thanks to the DOE RADIANCE, DOE UI-ASSIST and NSF FW-HTF projects for supporting this work